## About
BTC BAU Transmission Capacity
Source: | National Renewable Energy Laboratory
2012
Renewable Energy Futures Study: Volume 1
http://www.nrel.gov/docs/fy12osti/52409-1.pdf
Page 3-14, Figure 3-8

## Data
BAU transmission capacity in 2010 is given in the figure caption as
150-200 million MW*miles. The graph shows the additional quantity
of transmission being built in the "baseline" scenario, which extends
to 2050 in the RE Futures Report. We assume the growth is linear
and interpolate.
Unfortunately, data are only available as a graph (not in numbers), so
we must estimate by measuring pixels on the graph.
2010 Transmission (low estimate): | 150000000 | MW*miles
2010 Transmission (high estimate): | 200000000 | MW*miles
2010 Transmission: | 175000000 | MW*miles
BAU New Transmission
Pixels per 50 million MW*miles: | 141 | pixels
Pixel height of new transmission: | 15 | pixels
New transmission quantity in 2050 | 5319148.9362 | MW*miles

## Texas Notes
Method 1 comparing Texas vs US Transmission Miles
source ERCOT | http://www.ercot.com/content/wcm/lists/144927/2018_LTSA_Report.pdf
source US | https://www.nae.edu/183133/The-US-Electric-Power-System-Infrastructure-and-Its-Vulnerabilities#:~:text=The%20US%20electricity%20supply%20system%20has%20more%20than%20600%2C000%20circuit,%3E230%20kilovolts%2C%20kV).
46500 | ercot miles of transmission 2018
240000 | us miles of transmission 2018
0.19375 | ERCOT:US ratio
Method 2 compare generation capacity
source ERCOT | http://www.ercot.com/content/wcm/lists/172484/ERCOT_Quick_Facts_02.4.19.pdf
source US | https://www.eia.gov/energyexplained/electricity/electricity-in-the-us-generation-capacity-and-sales.php
78000 | ERCOT generation capacity (MW)
1100546 | US generation capacity (MW)
0.070874 | ERCOT:US ratio
Method 3 compare peak demand
https://www.nerc.com/pa/RAPA/ra/Reliability%20Assessments%20DL/NERC_LTRA_2018_12202018.pdf
74.2 | ERCOT
48.2 | FRCC
125.3 | MISO
25.5 | NPCC-NE
32.9 | NPCC-NY
152.5 | PJM
42.7 | SERC-E
41.5 | SERC-N
47.9 | SERC-SE
52.7 | SPP
55.1 | WECC-CAMX
47.6 | WECC-NWPP-US
12.1 | WECC-RMRG
24.3 | WECC-SRSG
782.5 | US Total
0.094824 | ERCOT:US ratio
0.082849 | ERCOT:US ratio - average of methods 2 and 3
EPS Original Numbers:
| 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
BAU Transmission Capacity (MW*miles) | 175000000 | 175132978.7234 | 175265957.4468 | 175398936.1702 | 175531914.8936 | 175664893.617 | 175797872.3404 | 175930851.0638 | 176063829.7872 | 176196808.5106 | 176329787.234 | 176462765.9574 | 176595744.6809 | 176728723.4043 | 176861702.1277 | 176994680.8511 | 177127659.5745 | 177260638.2979 | 177393617.0213 | 177526595.7447 | 177659574.4681 | 177792553.1915 | 177925531.9149 | 178058510.6383 | 178191489.3617 | 178324468.0851 | 178457446.8085 | 178590425.5319 | 178723404.2553 | 178856382.9787 | 178989361.7021 | 179122340.4255 | 179255319.1489 | 179388297.8723 | 179521276.5957 | 179654255.3191 | 179787234.0426 | 179920212.766 | 180053191.4894 | 180186170.2128 | 180319148.9362
ERCOT | 14498591.8723 | 14509609.0394 | 14520626.2065 | 14531643.3736 | 14542660.5406 | 14553677.7077 | 14564694.8748 | 14575712.0419 | 14586729.2089 | 14597746.376 | 14608763.5431 | 14619780.7102 | 14630797.8773 | 14641815.0443 | 14652832.2114 | 14663849.3785 | 14674866.5456 | 14685883.7126 | 14696900.8797 | 14707918.0468 | 14718935.2139 | 14729952.3809 | 14740969.548 | 14751986.7151 | 14763003.8822 | 14774021.0492 | 14785038.2163 | 14796055.3834 | 14807072.5505 | 14818089.7175 | 14829106.8846 | 14840124.0517 | 14851141.2188 | 14862158.3859 | 14873175.5529 | 14884192.72 | 14895209.8871 | 14906227.0542 | 14917244.2212 | 14928261.3883 | 14939278.5554
[8 empty] | From VCE: | 67983.3797 | 68902.9534 | 69909.9901 | 71004.4899 | 72186.4528 | 73455.8788 | 74812.7679 | 76257.12 | 77788.9352 | 79408.2135 | 81114.9549 | 82909.1594 | 84790.8269 | 86759.9575 | 88816.5512 | 90960.608 | 93192.1279 | 95511.1108 | 97917.5568 | 100411.4659 | 102992.8381 | 105661.6734 | 108417.9717 | 111261.7331 | 114192.9576 | 117211.6452 | 120317.7959 | 123511.4096 | 126792.4864 | 130161.0263 | 133617.0293 | 137160.4954 | 140791.4245
|  |  |  | Year | Total Transmission Capacity (MW)
|  |  |  | 2018 | 67312.662
|  |  |  | 2020 | 70082.654
|  |  |  | 2025 | 77622.15
|  |  |  | 2030 | 83204.836
|  |  |  | 2035 | 97550.44
|  |  |  | 2040 | 107530.674
|  |  |  | 2045 | 122135.352
|  |  |  | 2050 | 141790.884

## BTC
| 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
BAU Transmission Capacity (MW) | 68902.9534 | 69909.9901 | 71004.4899 | 72186.4528 | 73455.8788 | 74812.7679 | 76257.12 | 77788.9352 | 79408.2135 | 81114.9549 | 82909.1594 | 84790.8269 | 86759.9575 | 88816.5512 | 90960.608 | 93192.1279 | 95511.1108 | 97917.5568 | 100411.4659 | 102992.8381 | 105661.6734 | 108417.9717 | 111261.7331 | 114192.9576 | 117211.6452 | 120317.7959 | 123511.4096 | 126792.4864 | 130161.0263 | 133617.0293 | 137160.4954 | 140791.4245