## About
BCpUC Battery Cost per Unit Capacity
BCpUC Battery Balance of System Cost per Unit Capacity
Sources: | Battery cost projections per kWh
Rocky Mountain Institute
2014
The Economics of Grid Defection
http://www.rmi.org/electricity_grid_defection
Page 61, First Table, "Li-ion Battery Capital Cost"
2010 Battery Costs per kW
Sandia National Laboratory
2013
DOE/EPRI 2013 Electricity Storage Handbook in Collaboration with NRECA
http://www.sandia.gov/ess/publications/SAND2013-5131.pdf
Page B-45, Table B-28
Balance of System Costs
National Renewable Energy Laboratory
2018
2018 U.S. Utility-Scale Photovoltaics Plus-Energy Storage System Costs Benchmark
https://www.nrel.gov/docs/fy19osti/71714.pdf
Page 12, Table 3
Note:
Used to calculate battery storage deployment. Only the first year of this time series
input variable is used, and the remaining years are handled via endogenous
learning.
Balance of System
The "balance of system" should include all costs the utility must pay to purchase and
install the battery system, apart from the batteries themselves (and apart from sales
tax on the batteries). This includes the inverter, labor, etc.
Only the battery cost is affected by endogenous learning. The "Balance of System"
costs are read directly from this variable and are not modified via endogenous learning
inside the simulator.
Currency Adjustment
We adjust currency using the following conversion factors:
1.055 | 2010 to 2012 USD
0.91433 | 2018 to 2012 USD
See "cpi.xlsx" in the InputData folder for source information.

## Calculations
First, we start with projections from RMI of battery costs. (RMI has themselves averaged projections
from the EIA, Bloomberg New Energy Finance, and Navigant Consulting to obtain their estimates.)
These estimates are reported in dollars per kWh, but we need it per unit capacity (per kW).
We ignore results from 2014 and 2016 (because they are influenced by tax credits, whose effects we
do not wish to capture). Then curve fit the remaining years to get values for 2010 through 2050.
We curve fit the 2018-2030 data, which nicely matches a second-order polynomial, and use this
equation to fill in data for missing years before 2030. After 2030, the data is linear, so we
linearly interpolate to find missing values.
Cost Curve for Grid-Scale Lithium Ion Storage
Li-Ion Battery Capital Cost ($/kWh)
2010 | 433.0388
2011 | 409.2295
2012 | 386.3721
2013 | 364.4666
2014 | 343.5131
2015 | 323.5114
2016 | 304.4616
2017 | 286.3638
2018 | 269.83
2019 | 253.0238
2020 | 236.56
2021 | 223.4914
2022 | 210.4
2023 | 197.7666
2024 | 186.83
2025 | 175.8495
2026 | 166.37
2027 | 157.74
2028 | 149.96
2029 | 143.4381
2030 | 137.68
2031 | 135.565 |  |  | Polynomial (2nd Order) Fit for 2018-2030 data
2032 | 133.45 |  |  | y = 0.4759523810x2 - 1,937.6138095236x + 1,972,141.5814283900
2033 | 131.92
2034 | 130.39
2035 | 129.16
2036 | 127.93
2037 | 126.855
2038 | 125.78
2039 | 124.77
2040 | 123.76
2041 | 122.68
2042 | 121.6
2043 | 120.55
2044 | 119.5
2045 | 118.49
2046 | 117.48
2047 | 116.495
2048 | 115.51
2049 | 114.56
2050 | 113.61
Next, we need to convert the values from $/kWh to $/kW. We use a Sandia National Laboratory report
that provides some dollar values for batteries in 2010 in $/kW. We average their data points, then
correct for inflation to obtain the costs in 2012 dollars.
Frequency Regulation and Renewables Integration Grid Scale Lithium Ion Battery Storage Capacity Cost
$/kW | Year | $2012/kW
603 | 2010 | 0
779 | 2010 | 0
711 | 2010 | 0
707 | 2010 | 0
637 | 2010 | 0
|  | 0 | AVERAGE
Finally, we apply the difference in 2010 between batteries per kWh and per kW to obtain per kW values
for all years. This involves an assumption that the difference is constant, which might not be true, if future
batteries deliver more services (more kWh) for the same capacity (same kW). However, batteries
already can be used a large percentage of the time, so there may be limited scope for further improvements
in maximum battery usage rate.
Cost Curve for Grid-Scale Lithium Ion Storage
Li-Ion Battery Capital Cost
| $/kWh | $/kW
2010 | 433.0388 | 0
2011 | 409.2295 | -23.8093
2012 | 386.3721 | -46.6667
2013 | 364.4666 | -68.5721
2014 | 343.5131 | -89.5257
2015 | 323.5114 | -109.5274
2016 | 304.4616 | -128.5771
2017 | 286.3638 | -146.675
2018 | 269.83 | -163.2088
2019 | 253.0238 | -180.015
2020 | 236.56 | -196.4788
2021 | 223.4914 | -209.5474
2022 | 210.4 | -222.6388
2023 | 197.7666 | -235.2721
2024 | 186.83 | -246.2088
2025 | 175.8495 | -257.1893
2026 | 166.37 | -266.6688
2027 | 157.74 | -275.2988
2028 | 149.96 | -283.0788
2029 | 143.4381 | -289.6007
2030 | 137.68 | -295.3588
2031 | 135.565 | -297.4738
2032 | 133.45 | -299.5888
2033 | 131.92 | -301.1188
2034 | 130.39 | -302.6488
2035 | 129.16 | -303.8788
2036 | 127.93 | -305.1088
2037 | 126.855 | -306.1838
2038 | 125.78 | -307.2588
2039 | 124.77 | -308.2688
2040 | 123.76 | -309.2788
2041 | 122.68 | -310.3588
2042 | 121.6 | -311.4388
2043 | 120.55 | -312.4888
2044 | 119.5 | -313.5388
2045 | 118.49 | -314.5488
2046 | 117.48 | -315.5588
2047 | 116.495 | -316.5438
2048 | 115.51 | -317.5288
2049 | 114.56 | -318.4788
2050 | 113.61 | -319.4288

## Texas Calculations
NOTE - this is an archived calculation. I found a more straight-forward way to do this, but kept the old calculation in case we need it later.
First, we start with projections from RMI of battery costs. (RMI has themselves averaged projections
from the EIA, Bloomberg New Energy Finance, and Navigant Consulting to obtain their estimates.)
These estimates are reported in dollars per kWh, but we need it per unit capacity (per kW).
We ignore results from 2014 and 2016 (because they are influenced by tax credits, whose effects we
do not wish to capture). Then curve fit the remaining years to get values for 2010 through 2050.
We curve fit the 2018-2030 data, which nicely matches a second-order polynomial, and use this
equation to fill in data for missing years before 2030. After 2030, the data is linear, so we
linearly interpolate to find missing values.
Cost Curve for Grid-Scale Lithium Ion Storage
| Li-Ion Battery Capital Cost ($/kWh) |  |  |  | Li-Ion Battery Capital Cost ($/kW)
| EPS Original | WISdom (2018 Costs) | WISdom (2012 Dollars) | Ratio | EPS Original | New
2014 | 343.5131 |  |  | 0.77363 | -89.5257 | -69.2595
2015 | 323.5114 |  |  | 0.75374 | -109.5274 | -82.5549
2016 | 304.4616 |  |  | 0.73054 | -128.5771 | -93.9302
2017 | 286.3638 |  |  | 0.70891 | -146.675 | -103.9795
2018 | 269.83 | 204.1 | 185.731 | 0.68833 | -163.2088 | -112.3408
2019 | 253.0238 | 181.925 | 165.5518 | 0.65429 | -180.015 | -117.7826
2020 | 236.56 | 159.75 | 145.3725 | 0.61453 | -196.4788 | -120.7415
2021 | 223.4914 | 147.55 | 134.2705 | 0.60079 | -209.5474 | -125.8931
2022 | 210.4 | 135.35 | 123.1685 | 0.5854 | -222.6388 | -130.3331
2023 | 197.7666 | 123.15 | 112.0665 | 0.56666 | -235.2721 | -133.3194
2024 | 186.83 | 110.95 | 100.9645 | 0.54041 | -246.2088 | -133.0533
2025 | 175.8495 | 98.75 | 89.8625 | 0.51102 | -257.1893 | -131.4287
2026 | 166.37 | 92.36 | 84.0476 | 0.50518 | -266.6688 | -134.717
2027 | 157.74 | 85.97 | 78.2327 | 0.49596 | -275.2988 | -136.5372
2028 | 149.96 | 79.58 | 72.4178 | 0.48291 | -283.0788 | -136.7027
2029 | 143.4381 | 73.19 | 66.6029 | 0.46433 | -289.6007 | -134.4709
2030 | 137.68 | 66.8 | 60.788 | 0.44152 | -295.3588 | -130.4058
2031 | 135.565 | 65.494 | 59.5995 | 0.43964 | -297.4738 | -130.7808
2032 | 133.45 | 64.188 | 58.4111 | 0.4377 | -299.5888 | -131.13
2033 | 131.92 | 62.882 | 57.2226 | 0.43377 | -301.1188 | -130.6156
2034 | 130.39 | 61.576 | 56.0342 | 0.42974 | -302.6488 | -130.0611
2035 | 129.16 | 60.27 | 54.8457 | 0.42463 | -303.8788 | -129.0372
2036 | 127.93 | 58.962 | 53.6554 | 0.41941 | -305.1088 | -127.9664
2037 | 126.855 | 57.654 | 52.4651 | 0.41358 | -306.1838 | -126.6326
2038 | 125.78 | 56.346 | 51.2749 | 0.40766 | -307.2588 | -125.2556
2039 | 124.77 | 55.038 | 50.0846 | 0.40142 | -308.2688 | -123.7438
2040 | 123.76 | 53.73 | 48.8943 | 0.39507 | -309.2788 | -122.1879
2041 | 122.68 | 52.424 | 47.7058 | 0.38886 | -310.3588 | -120.6874
2042 | 121.6 | 51.118 | 46.5174 | 0.38254 | -311.4388 | -119.1391
2043 | 120.55 | 49.812 | 45.3289 | 0.37602 | -312.4888 | -117.5013
2044 | 119.5 | 48.506 | 44.1405 | 0.36938 | -313.5388 | -115.8138
2045 | 118.49 | 47.2 | 42.952 | 0.36249 | -314.5488 | -114.0223
2046 | 117.48 | 45.892 | 41.7617 | 0.35548 | -315.5588 | -112.1746
2047 | 116.495 | 44.584 | 40.5714 | 0.34827 | -316.5438 | -110.242
2048 | 115.51 | 43.276 | 39.3812 | 0.34093 | -317.5288 | -108.256
2049 | 114.56 | 41.968 | 38.1909 | 0.33337 | -318.4788 | -106.1713
2050 | 113.61 | 40.66 | 37.0006 | 0.32568 | -319.4288 | -104.0318

## Texas Notes
The EPS sources are a bit outdated, so we use the same data as the VCE WISdom model, which comes from the 2019 NREL ATB.
WISdom has broken the costs into a per kW and a per kWh component, so the battery capital is higher for both power and energy.
I used data from the endo-learn/Grid Battery Energy to Power Ratio spreadsheet
That spreadsheet calculates that the average battery has 2.4 hours of storage. That is, when discharging at it's maximum rate, a battery will take 2.4 hours to completely discharge.
So, a 1 MWh-energy battery is equal to a 0.42 MW-power battery.
Investment Periods | Overnight Capital Costs of Energy Storage 2018 $/kWh | 2012 $/kWh | Storage 2018 $/kw | 2012 $/kW | if each kW battery is 2.4 kWh (2012 $/kWh)
2018 | 204.1 | 185.731 | 667.969 | 607.8518 | 1053.6062
2020 | 159.75 | 145.3725 | 522.818 | 475.7644 | 824.6584
2025 | 98.75 | 89.8625 | 323.197 | 294.1093 | 509.7793
2030 | 66.8 | 60.788 | 218.633 | 198.956 | 344.8472
2035 | 60.27 | 54.8457 | 197.245 | 179.493 | 311.1226
2040 | 53.73 | 48.8943 | 175.857 | 160.0299 | 277.3762
2045 | 47.2 | 42.952 | 154.469 | 140.5668 | 243.6516
2050 | 40.66 | 37.0006 | 133.081 | 121.1037 | 209.9051

## Balance of System Calculations
Table 3. Detailed Cost Breakdown for a 60-MW U.S. Li-ion Standalone Storage System with Durations of 0.5–4 Hours
| 60-MW, 4-hour Duration, 240-MWh |  |  | 60-MW, 2-hour Duration, 120-MWh |  |  | 60-MW, 1-hour Duration, 60-MWh |  |  | 60-MW, 0.5-hour Duration, 30-MWh
Model Component | Total Cost ($) | $/kWh | $/W | Total Cost | $/kWh | $/W | Total Cost | $/kWh | $/W | Total Cost | $/kWh | $/W
Li-ion battery | 50160000 | 209 | 0.84 | 25080000 | 209 | 0.42 | 12540000 | 209 | 0.21 | 6270000 | 209 | 0.1
Battery central inverter | 4200000 | 18 | 0.07 | 4200000 | 35 | 0.07 | 4200000 | 70 | 0.07 | 4200000 | 140 | 0.07
Structural BOS | 3121131 | 13 | 0.05 | 1813452 | 15 | 0.03 | 1159612 | 19 | 0.02 | 832692 | 28 | 0.01
Electrical BOS | 8602825 | 36 | 0.14 | 6119167 | 51 | 0.1 | 4877337 | 81 | 0.08 | 4256423 | 142 | 0.07
Installation labor & equipment | 5479149 | 23 | 0.09 | 4322275 | 36 | 0.07 | 3743838 | 62 | 0.06 | 3454619 | 115 | 0.06
EPC overhead | 2775545 | 12 | 0.05 | 1948565 | 16 | 0.03 | 1535075 | 26 | 0.03 | 1328330 | 44 | 0.02
Sales tax | 5293460 | 22 | 0.09 | 3083292 | 26 | 0.05 | 1978209 | 33 | 0.03 | 1425667 | 48 | 0.02
∑ EPC cost | 79632110 | 332 | 1.33 | 46566751 | 388 | 0.78 | 30034071 | 501 | 0.5 | 21767732 | 726 | 0.36
Land acquisition | 250000 | 1 | 0 | 250000 | 2 | 0 | 250000 | 4 | 0 | 250000 | 8 | 0
Permitting fee | 295289 | 1 | 0 | 295289 | 2 | 0 | 295289 | 5 | 0 | 295289 | 10 | 0
Interconnection fee | 1802363 | 8 | 0.03 | 1802363 | 15 | 0.03 | 1802363 | 30 | 0.03 | 1802363 | 60 | 0.03
Contingency | 2477135 | 10 | 0.04 | 1476303 | 12 | 0.02 | 975887 | 16 | 0.02 | 725679 | 24 | 0.01
Developer overhead | 2477135 | 10 | 0.04 | 1476303 | 12 | 0.02 | 975887 | 16 | 0.02 | 725679 | 24 | 0.01
EPC/developer net profit | 4346702 | 18 | 0.07 | 2593350 | 22 | 0.04 | 1716675 | 29 | 0.03 | 1278337 | 43 | 0.02
∑ Developer cost | 11648623 | 49 | 0.19 | 7893608 | 66 | 0.13 | 6016101 | 100 | 0.1 | 5077347 | 169 | 0.08
We use the largest (4-hour duration) for our estimate.
Balance of System (excl. sales tax) |  |  | 0.58 | 2018 $/W
Sales tax on balance of system elements |  |  | 0.021273 | 2018 $/W
Balance of System |  |  | 0.60127 | 2018 $/W
Balance of System |  |  | 601272.7273 | 2018 $/MW
Balance of System |  |  | 549760.1044 | 2012 $/MW
For the U.S. model, we assume the balance of system costs remain constant throughout the model run.

## BCpUC
Year | Battery Cost ($/MW)
2014 | 1511501.81
2015 | 1397027.905
2016 | 1282554
2017 | 1168080.095
2018 | 1053606.19
2019 | 939132.285
2020 | 824658.38
2021 | 761682.558
2022 | 698706.736
2023 | 635730.914
2024 | 572755.092
2025 | 509779.27
2026 | 476792.862
2027 | 443806.454
2028 | 410820.046
2029 | 377833.638
2030 | 344847.23
2031 | 338102.31
2032 | 331357.39
2033 | 324612.47
2034 | 317867.55
2035 | 311122.63
2036 | 304373.342
2037 | 297624.054
2038 | 290874.766
2039 | 284125.478
2040 | 277376.19
2041 | 270631.27
2042 | 263886.35
2043 | 257141.43
2044 | 250396.51
2045 | 243651.59
2046 | 236902.302
2047 | 230153.014
2048 | 223403.726
2049 | 216654.438
2050 | 209905.15

## BBoSCpUC
Unit: $/MW | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Balance of System | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044 | 549760.1044