## About
BPMCCS BAU Policy Mandated Capacity Construction Schedule
Sources: | none needed
Note:
The purpose of this variable is to specify the electricity generating capacity
in MW that will be built each year in the BAU case before the model considers
what else to build in order to satisfy demand, satisfy an RPS (in the policy
case), etc.
The United States does not have any mandated capacity targets in the BAU
case, so we set this variable to zero.

## Texas Notes
I tried to find a list of Texas project that are already under construction and are planning to come online by a specific date
One useful report is the ERCOT Generation Interconnection Status (GIS).
This data shows potential power plant construction projects whose investors have requested to connect to the ERCOT grid.
Many power plants don't make it through the screening stages. And some that get approved are never built, but the list of
approved power plants gives us some idea of what's in store
They make a monthly summary of which parts of the GIS is most likely to be built (i.e. projects that have been approved for synchronization and/or have posted financial security)
http://www.ercot.com/content/wcm/lists/197386/Capacity_Changes_by_Fuel_Type_Charts_May_2020.xlsx
May 2020 ERCOT GIS
Total Cumulative Additions
| 2020 | 2021 | 2022
Wind | 6763 | 10214 | 10468
Solar | 3110 | 8436 | 9611
NGCC | 313 | 313
NGGT | 470 | 470
For reference, it may be useful to look at old GIS reports and see how much was actually built
| Wind Total Capacity |  |  |  | Solar Total Capacity |  |  |  | NGCC Total Capacity |  |  |  | NGGT Total Capacity
| 2017 | 2018 | 2019 | 2020 | 2017 | 2018 | 2019 | 2020 | 2017 | 2018 | 2019 | 2020 | 2017 | 2018 | 2019 | 2020
Actual | 20582 | 21751 | 23860 |  | 1069 | 1858 | 2281 |  | 35959 | 35959 | 35959 |  | 18900 | 19718 | 19492
Aug_2018_GIS |  | 23105 | 27764 | 28570 |  | 1756 | 2616 | 2817 |  | 35477 | 35488 | 35488 |  | 19773 | 19869 | 19869
May_2019_GIS |  |  | 27332 | 31683 |  |  | 3182 | 5202 |  |  | 35736 | 35736 |  |  | 19880 | 19880
ERROR |  | 215.8% | 285.1% |  |  | 87.07% | 179.2% |  |  | #DIV/0! | #DIV/0! |  |  | 106.7% | -66.81%
|  |  | 264.6% |  |  |  | 313% |  |  |  | #DIV/0! |  |  |  | -71.68%
INTERPRETATION | Wind capacity additions are overprojected by |  |  |  | Solar capacity additions are overprojected by |  |  |  | NGCC capacity additions are projected but have |  |  |  | NGGT capacity additions are projected, but retirements
| 255.2% | on average. |  |  | 193.1% | on average |  |  | not yet been built. |  |  |  | mean that capacity actually decreases in some years.
PLAN | Let NGCC and NGGT be 0. Their projected growth is already very small (313MW, 470MW) and historical data suggest that these projections are inconsistent with what actually happens, and that neither technology is changing much.
Assume that WIND projections are optimistic by 255%--i.e., that only 39% of the projected capacity will be built
Assume that WIND projections are optimistic by 193%--i.e., that only 52% of the projected capacity will be built
Assume that for 2022 and beyond we have no idea.
I was also able to find one Texas construction project that is outside of ERCOT (in SPP in east Texas)
Year | Type | Capacity (MW) | Name | Source
2021 | NGCC | 993 | Entergy Willis | https://www.constructiondive.com/news/mcdermott-gets-go-ahead-for-937m-texas-power-plant/538507/
So, combining those assumptions with historical numbers, we get
| Total Capacity |  |  |  | Capacity Additions
| Wind | Solar | NGCC | NGGT | Wind | Solar | NGCC | NGGT
2014 | 12470 | 193 | 33080 | 19931
2015 | 15764 | 288 | 33897 | 18552 | 3294 | 95 | 817 | 0 |  | *since NGGT loses capacity over 2014--2019, let's just leave all of the values as zero
2016 | 17604 | 566 | 33515 | 19593 | 1840 | 278 | 0 | 0 |  | *since NGCC loses capacity in 2016, let's just lump that in with the capacity gains in 2017 to have a net positive number
2017 | 20682 | 1069 | 35959 | 18900 | 3078 | 503 | 2062 | 0
2018 | 21777 | 1858 | 35959 | 19718 | 1095 | 789 | 0 | 0
2019 | 23860 | 2281 | 35959 | 19492 | 2083 | 423 | 0 | 0
2020 |  |  |  |  | 2650.2005 | 1610.6456 | 0 | 0
2021 |  |  |  |  | 1352.3351 | 2758.2953 | 993 | 0
2022 |  |  |  |  | ? | ? | ? | ?

## BPMCCS
Mandated Construction (MW) | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
hard coal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
natural gas nonpeaker | 817 | 0 | 2062 | 0 | 0 | 0 | 993 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
nuclear | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
hydro | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
onshore wind | 3294 | 1840 | 3078 | 1095 | 2083 | 2650.2005 | 1352.3351 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
solar PV | 95 | 278 | 503 | 789 | 423 | 1610.6456 | 2758.2953 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
solar thermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
biomass | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
geothermal | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
petroleum | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
natural gas peaker | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
lignite | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
offshore wind | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
crude oil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
heavy or residual fuel oil | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
municipal solid waste | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0