## About
MPCbS Max Potential Capacity by Source
Source: | Solar, Wind, Biomass
National Renewable Energy Laboratory
2012
U.S. Renewable Energy Technical Potentials: A GIS-Based Analysis
http://www.nrel.gov/docs/fy12osti/51946.pdf
Page iv, Table ES-1
Hydropower
US Department of Energy
2016
Chapter 3: Assessment of National Hydropower Potential
https://energy.gov/sites/prod/files/2016/10/f33/Hydropower-Vision-Chapter-3-10212016.pdf
Figures O3-3 and O3-8
Municipal Solid Waste
U.S. Environmental Protection Agency
2016
National Overview: Facts and Figures on Materials, Wastes and Recycling
https://www.epa.gov/facts-and-figures-about-materials-waste-and-recycling/national-overview-facts-and-figures-materials
We also use start year MSW capacity from elec/SYC
Notes:
These maximums reflect the available resource potential for hydro, wind, solar, and biomass power.
Maximums for coal, natural gas, and nuclear are not imposed, as these power types are unlikely to
be geographically resource-constrained. (An arbitrarily high number is chosen here, to ensure
this limit doesn't come into play for these three electricity sources.)

## Data
Table ES-1 from NREL
Technology | Potential Capacity (GW) | Hydro | Capacity (GW) | Source
Urban utility-scale PV | 1200 | Existing Fleet | 101.2 | See Figure O3-8
Rural utility-scale PV | 153000 | Modeled Potential - Upgrades and optimization of Existing Hydropower Plants | 6.9 | See Table O3-3
Rooftop PV | 664 | Technical Potential - Powering of Non-Powered Dams | 12 | See Table O3-3
Concentrating Solar | 38000 | Technical Potential - Powering Existing Canals and Conduits | 2 | See Table O3-3
Onshore wind | 11000 | Technical Potential - New Stream-Reach Development | 65.5 | See Table O3-3
Offshore wind | 4200
Biopower | 62 | Total Potential | 187.6
Hydrothermal power systems | 38
Enhanced geothermal systems | 4000
Hydropower | 60 | The max potential hydropower estimate here is substantially lower than
the actual deployed hydropower in the model's start year. It is likely that
Red = not used in model |  | this hydropower statistics is wrong, or is referring to a subset of total
hydropower. Accordingly, we use a different, better source for
Electricity Source (model subscript) | Potential Capacity (MW) | hydropower potential (above).
hydro | 187600
onshore wind | 11000000
solar PV | 154864000 | Municipal Solid Waste |  | Source
solar thermal | 38000000 | Start Year Capacity (MW) | 1820 | see elec/SYC
biomass | 62000
geothermal | 4000000 | MSW Tonnage Data for Year 2015
offshore wind | 4200000 | U.S. MSW generated (million tons) | 262.4 | U.S. EPA
|  | U.S. MSW burned with energy recovery (million tons) | 33.57 | U.S. EPA
Maximums for coal, natural gas, and nuclear are not imposed, |  | U.S. MSW recycled (million tons) | 67.8 | U.S. EPA
as these power types are unlikely to be |  | U.S. MSW composted (million tons) | 23.4 | U.S. EPA
geographically resource-constrained. |  | U.S. MSW landfilled (million tons) | 137.7 | U.S. EPA
(An arbitrarily high limit number is used on the next tab.)
|  | Combustible share of landfilled MSW | 83.2% | U.S. EPA
Assumes metals, glass, and "other" waste types are not combustible.
We assume burning materials that are today being recycled or composted is environmentally
counter-productive and also un-economic, so we assume all potential increase in MSW combustion
must come from the landfilled share of wastes.
|  | MSW Combustion growth potential (% increase) | 341.3%
|  | Max MSW Potential Capacity (MW) | 8031.2257

## Texas Notes
The NREL report used by EPS has a state-level breakdown.
Texas is mentioned a few times in the main report for having more potential than any other state for solar, wind, and csp.
https://web.archive.org/web/20120915115931/http://www.nrel.gov/gis/re_potential.html
https://web.archive.org/web/20170713000904/http://www.nrel.gov/gis/docs/us_re_technical_potential.xlsx
| US (old EPS #s) | Texas | % of US
onshore wind | 11000000 | 1901529.9 | 17.29%
solar PV | 154864000 | 20625551.6486 | 13.32%
solar thermal | 38000000 | 7743420.2799 | 20.38%
biomass | 62000 | 2787.4229 | 4.496%
geothermal | 4000000 | 384354.5114 | 9.609%
offshore wind | 4200000 | 271443.45 | 6.463%
hydro | 187600 | 517 | 0.2756%
municipal solid waste | 8031.2257 | 1566.6543 | 19.51%
Hydro:
https://www.energy.gov/sites/prod/files/2014/05/f15/doewater-11263.pdf
the above 2006 DOE study estimates that Texas has the potential to build another 328 MW or 517 total MW of hydropower.
this is a tiny fraction of the US potential hydropower
517 | MW of potential Texas hydropower capacity
MSW:
0 | MSW Start Capacity (2016 MW) | EIA 860. According to EIA 860, there is 2700 MW of MSW power plant capacity. None of that is in Texas.
0 | MSW burned with energy recovery (million tons) | If there is 0 capacity, then there was 0 tons of MWS burned.
34.732 | MSW landfilled (2016 million tons) | https://www.tceq.texas.gov/assets/public/comm_exec/pubs/as/187-17.pdf
45.1069 | MW capacity per million tons landfilled | from the EPS national data
1566.6543 | Total MW Capacity of MSW potential
*note that Texas landfills 25% of the US total, so it's not surprising that Texas has great MSW power plant potential.
Main differences between Texas and US
Texas has relatively small biomass, offshore wind, and hydro capacity
Texas has relatively large onshore wind, solar, and MSW capacity

## NREL numbers by state
Report Table Number--> | Table 2 |  |  | Table 3 |  |  | Table 4 |  | Table 5 |  |  | Table 6 |  |  | Table 7 |  |  | Table 8 | [5 empty] | Table 9 |  | Table 10 |  | Table 11
State | Urban Utility-scale PV (GWh) | Urban Utility-scale PV (GW) | Urban Utility-scale PV (km2) | Rural Utility-scale PV (GWh) | Rural Utility-scale PV (GW) | Rural Utility-scale PV (km2) | Rooftop PV (GWh) | Rooftop PV (GW) | CSP (GWh) | CSP (GW) | CSP (km2) | Onshore Wind (GWh) | Onshore Wind (GW) | Onshore Wind (km2) | Offshore Wind (GWh) | Offshore Wind (GW) | Offshore Wind (km2) | Biopower-Solid (GWh) | Biopower-Solid (GW) | Biopower-Solid (BDT) | Biopower-Gaseous (GWh) | Biopower-Gaseous (GW) | Biopower-Gaseous (Tonnes-CH4) | Geothermal Hydrothermal (GWh) | Geothermal Hydrothermal (GW) | EGS Geothermal (GWh) | EGS Geothermal (GW) | Hydropower (GWh) | Hydropower (GW) | Hydropower (Count of Sites)
Alabama | 35850.6285 | 20.4532 | 426.1078 | 3706838.5675 | 2114.7921 | 44058.1679 | 15475.9686 | 12.5161 | 0 | 0 | 0 | 283.0225 | 0.1182 | 23.64 | 0 | 0 | 0 | 11193.4559 | 1.4198 | 10175869 | 1533.0774 | 0.19445 | 326186.69 | 0 | 0 | 535489.5034 | 67.921 | 4102.5658 | 0.93666 | 2435
Alaska | 166 | 0.112 | 2.3488 | 8282976.2168 | 9005.1927 | 187608.1806 | NA | 1.2915 | 0 | 0 | 0 | 1373433.393 | 493.3464 | 98669.2724 | NA | NA | NA | 513.4767 | 0.065129 | 466797 | 61.8376 | 0.0078434 | 13156.93 | 15437.2678 | 1.9581 | NA | NA | 23675.5719 | 5.4054 | 3053
Arizona | 121305.8775 | 52.6111 | 1096.0636 | 11867693.6741 | 5147.0867 | 107230.9736 | 22736.0832 | 14.88 | 12544333.9279 | 3527.6237 | 107238.9035 | 26036.3761 | 10.9041 | 2180.82 | NA | NA | NA | 1087.5755 | 0.13795 | 988705 | 837.4863 | 0.10623 | 178188.57 | 8329.5296 | 1.0564 | 1239147.7169 | 157.1725 | 1303.222 | 0.29754 | 1958
Arkansas | 28960.8813 | 15.9573 | 332.4441 | 4986388.5536 | 2747.4777 | 57239.1195 | 8484.9506 | 6.7731 | 0 | 0 | 0 | 22892.3175 | 9.2003 | 1840.06 | NA | NA | NA | 14381.444 | 1.8241 | 13074040 | 1063.0368 | 0.13483 | 226178.05 | 0 | 0 | 628621.6745 | 79.7339 | 6093.4006 | 1.3912 | 3268
California | 246008.1079 | 111.4038 | 2320.9127 | 8855917.1752 | 4010.3674 | 83549.3203 | 106411.1512 | 75.9084 | 8490916.1591 | 2725.6758 | 82859.8809 | 89862.1999 | 34.1102 | 6822.04 | 2662579.5091 | 654.8334 | 130966.67 | 12408.2695 | 1.5739 | 11280245 | 15510.9917 | 1.9674 | 3300211 | 130921.0689 | 16.6055 | 1344179.4302 | 170.4946 | 30023.5783 | 6.8547 | 9692
Colorado | 43470.5014 | 19.1672 | 399.3165 | 10238083.9283 | 4514.218 | 94046.2085 | 16162.1715 | 11.7967 | 9154524.3761 | 3097.8362 | 94173.4668 | 1096035.8315 | 387.2194 | 77443.88 | NA | NA | NA | 2913.3082 | 0.36952 | 2648462 | 1224.2102 | 0.15528 | 260470.25 | 8953.6736 | 1.1354 | 1251657.961 | 158.7593 | 7789.1289 | 1.7783 | 5060
Connecticut | 7716.6472 | 4.833 | 100.688 | 19627.7459 | 12.2931 | 256.1058 | 6616.1987 | 5.9034 | 0 | 0 | 0 | 61.9135 | 0.0265 | 5.3 | 26545.3641 | 7.1705 | 1434.1 | 494.7525 | 0.062754 | 449775 | 414.6675 | 0.052596 | 88227.13 | 0 | 0 | 56078.4352 | 7.1129 | 922.4579 | 0.21061 | 659
Delaware | 14856.4682 | 9.1195 | 189.9906 | 272332.6235 | 167.1696 | 3482.7003 | 2185.4317 | 1.8757 | 0 | 0 | 0 | 21.72 | 0.0095 | 1.9 | 60654.0236 | 15.0384 | 3007.68 | 512.3822 | 0.06499 | 465802 | 385.4637 | 0.048892 | 82013.56 | 0 | 0 | 22813.3548 | 2.8936 | 30.7903 | 0.0070298 | 25
District of Columbia | 8.44 | 0.0053796 | 0.11207 | 0 | 0 | 0 | 2490.1903 | 2.1002 | 0 | 0 | 0 | 0 | 0 | 0 | NA | NA | NA | 61.798 | 0.0078384 | 56180 | 4.5957 | 0.00058291 | 977.8 | 0 | 0 | 697.8494 | 0.088515 | 0.83125 | 0.00018978 | 2
Florida | 72787.1926 | 39.8504 | 830.2159 | 5137346.8422 | 2812.6534 | 58596.9467 | 63986.6389 | 49.4065 | 358.6872 | 0.12976 | 3.9447 | 0.95309 | 0.0004 | 0.08 | 34684.4903 | 9.6486 | 1929.71 | 9664.4064 | 1.2258 | 8785824 | 3693.2025 | 0.46844 | 785787.76 | 0 | 0 | 374161.2658 | 47.4583 | 682.1065 | 0.15573 | 493
Georgia | 43166.8176 | 24.2744 | 505.7158 | 5492183.4001 | 3088.4655 | 64343.0303 | 31116.3692 | 24.6073 | 0 | 0 | 0 | 322.6799 | 0.1301 | 26.02 | 220807.174 | 58.6288 | 11725.75 | 14682.3446 | 1.8623 | 13347586 | 2220.9697 | 0.28171 | 472546.74 | 0 | 0 | 353206.4669 | 44.8004 | 1988.0099 | 0.45388 | 2100
Hawaii | 3725 | 1.667 | 34.76 | 38032.6522 | 20.6744 | 430.717 | NA | 2.7289 | 15369.8229 | 5.5386 | 168.3728 | 7786.6478 | 2.4677 | 493.5481 | 2836735.4341 | 736.945 | 147389 | 524.1049 | 0.066477 | 476459 | 200.2338 | 0.025397 | 42602.94 | 20632.0538 | 2.6173 | NA | NA | 2602.2709 | 0.59413 | 437
Idaho | 23194.9023 | 12.0511 | 251.0646 | 3936847.7875 | 2045.4216 | 42612.9496 | 4051.1461 | 3.2245 | 3502877.4204 | 1267.2226 | 38523.2598 | 44319.7536 | 18.0756 | 3615.12 | NA | NA | NA | 5775.616 | 0.73257 | 5250560 | 182.5041 | 0.023149 | 38830.65 | 17205.2892 | 2.1823 | 993257.0187 | 125.9839 | 18757.8025 | 4.2826 | 6706
Illinois | 103551.8385 | 63.5975 | 1324.947 | 8090985.4826 | 4969.1642 | 103524.2532 | 30086.4006 | 26.3119 | 0 | 0 | 0 | 649467.9308 | 249.8821 | 49976.42 | 66070.4573 | 15.8716 | 3174.32 | 27738.0873 | 3.5183 | 25216443 | 4222.2219 | 0.53554 | 898345.08 | 0 | 0 | 676055.9424 | 85.7504 | 4882.5049 | 1.1147 | 1330
Indiana | 98815.1866 | 61.1745 | 1274.4688 | 4876185.7948 | 3018.749 | 62890.6033 | 17151.2213 | 14.8562 | 0 | 0 | 0 | 377603.89 | 148.2275 | 29645.5 | 165.7366 | 0.04505 | 9.01 | 14941.6498 | 1.8952 | 13583318 | 2978.202 | 0.37775 | 633660 | 0 | 0 | 434258.4952 | 55.081 | 2394.2855 | 0.54664 | 1142
Iowa | 27091.9385 | 15.5739 | 324.4553 | 6994159.157 | 4020.6061 | 83762.6265 | 8646.1088 | 7.1908 | 0 | 0 | 0 | 1723587.8611 | 570.7142 | 114142.84 | NA | NA | NA | 27502.4783 | 3.4884 | 25002253 | 1425.404 | 0.1808 | 303277.44 | 0 | 0 | 606390.2938 | 76.914 | 2818.1862 | 0.64342 | 2398
Kansas | 31705.8675 | 15.2182 | 317.0459 | 14500149.0774 | 6959.7918 | 144995.6622 | 8962.1604 | 6.8717 | 7974255.9931 | 2884.8162 | 87697.7117 | 3101575.6933 | 952.3709 | 190474.18 | NA | NA | NA | 12104.4572 | 1.5353 | 11004052 | 753.0313 | 0.095514 | 160219.43 | 0 | 0 | 989675.9456 | 125.5297 | 2507.9277 | 0.57259 | 3201
Kentucky | 26514.5957 | 16.2713 | 338.9846 | 1823976.7456 | 1119.3233 | 23319.2358 | 12312.0636 | 10.5385 | 0 | 0 | 0 | 147.3563 | 0.0606 | 12.12 | NA | NA | NA | 7048.0707 | 0.89397 | 6407337 | 1273.9489 | 0.16159 | 271052.95 | 0 | 0 | 484658.7689 | 61.4737 | 4255.3671 | 0.97155 | 1394
Louisiana | 55669.4787 | 32.3909 | 674.8102 | 4114605.2425 | 2394.0539 | 49876.1225 | 14368.0783 | 11.8404 | 0 | 0 | 0 | 934.6517 | 0.4098 | 81.96 | 1200698.5008 | 340.6149 | 68122.98 | 14016.0416 | 1.7778 | 12741856 | 857.2996 | 0.10874 | 182404.16 | 0 | 0 | 484271.3671 | 61.4246 | 2423.3308 | 0.55327 | 934
Maine | 3216.074 | 1.9252 | 40.1092 | 1100327.1078 | 658.6894 | 13722.6959 | 2443.2512 | 2.1413 | 0 | 0 | 0 | 28742.8109 | 11.251 | 2250.2 | 631960.2053 | 147.4179 | 29483.58 | 4273.0413 | 0.54199 | 3884583 | 124.7491 | 0.015823 | 26542.37 | 0 | 0 | 377075.0969 | 47.8279 | 3916.4182 | 0.89416 | 1373
Maryland | 28551.295 | 18.1797 | 378.7444 | 585949.0443 | 373.0968 | 7772.8492 | 14849.7613 | 12.7381 | 0 | 0 | 0 | 3631.7344 | 1.4829 | 296.58 | 200852.0963 | 51.9094 | 10381.87 | 2102.1495 | 0.26663 | 1911045 | 1226.538 | 0.15557 | 260965.53 | 0 | 0 | 86649.033 | 10.9905 | 814.0152 | 0.18585 | 491
Massachusetts | 17469.5975 | 10.9589 | 228.3105 | 82204.76 | 51.5681 | 1074.3354 | 11722.5083 | 10.3164 | 0 | 0 | 0 | 2827.3132 | 1.028 | 205.6 | 799344.271 | 184.0763 | 36815.26 | 1045.3388 | 0.13259 | 950308 | 1103.615 | 0.13998 | 234811.71 | 0 | 0 | 92227.281 | 11.698 | 1196.7206 | 0.27322 | 560
Michigan | 50845.4727 | 33.5699 | 699.3739 | 5215639.8743 | 3443.5468 | 71740.5577 | 23527.7024 | 21.5202 | 0 | 0 | 0 | 143907.8219 | 59.0421 | 11808.42 | 1739800.633 | 422.5766 | 84515.32 | 9358.0377 | 1.187 | 8507307 | 2539.3294 | 0.32209 | 540282.85 | 0 | 0 | 457850.2903 | 58.0733 | 1180.9495 | 0.26962 | 1942
Minnesota | 33370.0482 | 20.1284 | 419.3423 | 10792814.4398 | 6510.1026 | 135627.137 | 14321.9975 | 12.4862 | 0 | 0 | 0 | 1428524.683 | 489.2706 | 97854.12 | 100454.827 | 29.2147 | 5842.94 | 20361.7579 | 2.5827 | 18510689 | 1029.6505 | 0.1306 | 219074.57 | 0 | 0 | 369784.5773 | 46.9032 | 1254.877 | 0.2865 | 1391
Mississippi | 26366.2489 | 15.2434 | 317.5699 | 4981252.4779 | 2879.8556 | 59996.9916 | 8614.2554 | 6.9684 | 0 | 0 | 0 | 0 | 0 | 0 | 10172.1212 | 3.2129 | 642.59 | 14209.9254 | 1.8024 | 12918114 | 1076.661 | 0.13656 | 229076.8 | 0 | 0 | 559056.0888 | 70.9102 | 2211.1685 | 0.50483 | 1536
Missouri | 30549.4656 | 18.0757 | 376.5772 | 5335268.9794 | 3156.8064 | 65766.7998 | 16159.7781 | 13.081 | 0 | 0 | 0 | 689519.2351 | 274.3551 | 54871.02 | NA | NA | NA | 11837.6599 | 1.5015 | 10761509 | 2147.8551 | 0.27243 | 456990.45 | 0 | 0 | 835444.6005 | 105.9671 | 7198.4977 | 1.6435 | 5089
Montana | 11370.8384 | 6.1147 | 127.3896 | 8187341.3326 | 4402.7662 | 91724.295 | 2194.2219 | 1.8768 | 1540287.57 | 557.224 | 16939.4733 | 2746271.583 | 944.0046 | 188800.92 | NA | NA | NA | 4924.7902 | 0.62466 | 4477082 | 147.226 | 0.018674 | 31324.68 | 6547.7908 | 0.8307 | 1647303.7224 | 208.9426 | 14546.5569 | 3.3211 | 6859
Nebraska | 12954.2929 | 6.8078 | 141.8295 | 9266756.7312 | 4869.9202 | 101456.6714 | 5336.6997 | 4.2284 | 4846929.2531 | 1753.4551 | 53304.6097 | 3011252.6008 | 917.9987 | 183599.74 | NA | NA | NA | 16271.9953 | 2.0639 | 14792723 | 750.7306 | 0.095222 | 159729.91 | 0 | 0 | 927996.4556 | 117.7063 | 3142.1757 | 0.71739 | 2880
Nevada | 24893.7655 | 10.7848 | 224.6827 | 8614454.4259 | 3732.0547 | 77751.1389 | 10767.2022 | 7.1368 | 8295752.743 | 2557.9091 | 77759.814 | 17709.2983 | 7.2471 | 1449.42 | NA | NA | NA | 288.8743 | 0.036641 | 262613 | 325.4687 | 0.041282 | 69248.67 | 45320.975 | 5.7487 | 1262174.6572 | 160.0932 | 845.9637 | 0.19314 | 1489
New Hampshire | 3790.2232 | 2.3507 | 48.9734 | 57363.99 | 35.5775 | 741.1986 | 2298.5955 | 2.062 | 0 | 0 | 0 | 5706.4804 | 2.1354 | 427.08 | 14477.5438 | 3.456 | 691.2 | 953.8683 | 0.12099 | 867153 | 389.5821 | 0.049414 | 82889.81 | 0 | 0 | 104314.4155 | 13.2312 | 1740.9138 | 0.39747 | 810
New Jersey | 44307.1465 | 25.301 | 527.1037 | 439773.7823 | 251.1267 | 5231.8062 | 15767.5329 | 13.6914 | 0 | 0 | 0 | 317.2666 | 0.1318 | 26.36 | 429807.6918 | 101.9347 | 20386.94 | 1212.101 | 0.15374 | 1101910 | 2310.9513 | 0.29312 | 491691.77 | 0 | 0 | 35230.438 | 4.4686 | 549.388 | 0.12543 | 402
New Mexico | 71356.0242 | 30.9906 | 645.6377 | 16318543.0306 | 7087.3007 | 147652.0979 | 6513.3983 | 4.2233 | 16812349.3754 | 4860.1652 | 147747.8403 | 1399156.6092 | 492.0835 | 98416.7 | NA | NA | NA | 595.4014 | 0.07552 | 541274 | 353.5722 | 0.044847 | 75228.12 | 12933.2112 | 1.6408 | 1417978.3703 | 179.8552 | 1362.7 | 0.31112 | 1810
New York | 52803.0043 | 32.7639 | 682.5814 | 1492566.4212 | 926.1274 | 19294.3215 | 28779.5454 | 25.1489 | 0 | 0 | 0 | 63565.7202 | 25.7813 | 5156.26 | 614279.8413 | 146.0772 | 29215.43 | 5558.3891 | 0.70502 | 5053081 | 2950.3511 | 0.37422 | 627734.27 | 0 | 0 | 375400.598 | 47.6155 | 6711.2481 | 1.5322 | 4839
North Carolina | 68346.1122 | 37.8938 | 789.4541 | 4232789.9276 | 2346.8267 | 48892.2237 | 28419.6285 | 23.0958 | 0 | 0 | 0 | 2037.4564 | 0.8077 | 161.54 | 1269626.8888 | 306.0204 | 61204.07 | 12869.8757 | 1.6324 | 11699887 | 3780.2152 | 0.47948 | 804301.11 | 0 | 0 | 420741.3333 | 53.3665 | 3036.5273 | 0.69327 | 2131
North Dakota | 4871.373 | 2.7438 | 57.1626 | 9734447.9383 | 5482.9397 | 114227.9098 | 1916.9403 | 1.6221 | 36049.9056 | 13.0416 | 396.4626 | 2537824.7742 | 770.1954 | 154039.08 | NA | NA | NA | 8186.0757 | 1.0383 | 7441887 | 30.0031 | 0.0038056 | 6383.64 | 0 | 0 | 820226.3515 | 104.0368 | 347.1266 | 0.079253 | 572
Ohio | 86495.9883 | 57.1427 | 1190.4727 | 3626181.5035 | 2395.5998 | 49908.3283 | 30064.1557 | 27.4747 | 0 | 0 | 0 | 129142.8283 | 54.9197 | 10983.94 | 170561.4819 | 41.8044 | 8360.89 | 11009.1102 | 1.3964 | 10008282 | 3363.3353 | 0.4266 | 715603.26 | 0 | 0 | 495921.7177 | 62.9023 | 3045.9558 | 0.69542 | 1791
Oklahoma | 50040.7658 | 25.6192 | 533.7334 | 9341920.3948 | 4782.7517 | 99640.6596 | 12442.7157 | 9.337 | 5068036.4122 | 1812.952 | 55113.2991 | 1521651.9092 | 516.8221 | 103364.42 | NA | NA | NA | 4128.4507 | 0.52365 | 3753137 | 965.1913 | 0.12242 | 205359.85 | 0 | 0 | 779667.3946 | 98.8924 | 3015.8284 | 0.68855 | 2824
Oregon | 25783.1396 | 12.992 | 270.6674 | 3740478.9034 | 1884.8145 | 39266.9695 | 8322.7255 | 7.8423 | 2812126.2172 | 1017.3322 | 30926.6505 | 68766.9001 | 27.1003 | 5420.06 | 962722.6391 | 225.0083 | 45001.66 | 13793.0936 | 1.7495 | 12539176 | 890.9869 | 0.11301 | 189571.69 | 18199.8976 | 2.3084 | 914105.3476 | 115.9444 | 18184.4323 | 4.1517 | 7993
Pennsylvania | 56161.8351 | 36.1955 | 754.0734 | 553356.0476 | 356.6303 | 7429.7979 | 22215.0269 | 19.9022 | 0 | 0 | 0 | 8230.6818 | 3.3072 | 661.44 | 23571.0366 | 5.6742 | 1134.84 | 6313.5699 | 0.80081 | 5739609 | 7132.4415 | 0.90467 | 1517540.74 | 0 | 0 | 327340.5749 | 41.5196 | 8368.1013 | 1.9105 | 4466
Rhode Island | 1787.9327 | 1.1596 | 24.158 | 13636.3847 | 8.844 | 184.2507 | 1710.7713 | 1.5335 | 0 | 0 | 0 | 129.8433 | 0.0466 | 9.32 | 89114.9557 | 20.9654 | 4193.08 | 143.4972 | 0.018201 | 130452 | 474.1748 | 0.060144 | 100888.26 | 0 | 0 | 11491.5316 | 1.4576 | 59.4657 | 0.013577 | 86
South Carolina | 33834.6665 | 19.0992 | 397.8993 | 2754973.3038 | 1555.1413 | 32398.777 | 14412.5694 | 11.531 | 0 | 0 | 0 | 427.9961 | 0.185 | 37 | 542218.2311 | 133.2173 | 26643.47 | 6984.802 | 0.88595 | 6349820 | 1430.2679 | 0.18141 | 304312.31 | 0 | 0 | 364104.983 | 46.1828 | 1888.6948 | 0.43121 | 889
South Dakota | 4573.6373 | 2.4424 | 50.8824 | 10008873.1734 | 5344.8102 | 111350.2134 | 2082.5866 | 1.682 | 1629659.5873 | 589.5558 | 17922.3514 | 2901858.0836 | 882.4126 | 176482.52 | NA | NA | NA | 8380.1399 | 1.0629 | 7618309 | 235.3406 | 0.02985 | 50072.46 | 0 | 0 | 921972.5083 | 116.9422 | 1047.059 | 0.23905 | 1712
Tennessee | 50243.3045 | 28.5976 | 595.7836 | 2225989.9287 | 1266.9946 | 26395.7211 | 19685.1492 | 16.2267 | 0 | 0 | 0 | 765.5307 | 0.3093 | 61.86 | NA | NA | NA | 6095.4949 | 0.77315 | 5541359 | 1984.4346 | 0.2517 | 422220.13 | 0 | 0 | 428380.0381 | 54.3354 | 5744.5366 | 1.3115 | 2610
Texas | 294684.0137 | 154.2512 | 3213.5675 | 38993581.6193 | 20411.0439 | 425230.0817 | 78716.664 | 60.2565 | 22786749.695 | 7743.4203 | 235398.0935 | 5552399.9293 | 1901.5299 | 380305.98 | 1101062.655 | 271.4434 | 54288.69 | 16077.5461 | 2.0393 | 14615951 | 5898.4964 | 0.74816 | 1254999.24 | 0 | 0 | 3030250.9677 | 384.3545 | 3006.0801 | 0.68632 | 4366
Utah | 30492.3309 | 14.0572 | 292.8573 | 5184878.0164 | 2390.2604 | 49797.0909 | 7513.8039 | 5.6445 | 5067546.9381 | 1638.1541 | 49799.4876 | 31552.1346 | 13.1037 | 2620.74 | NA | NA | NA | 433.983 | 0.055046 | 394530 | 427.787 | 0.05426 | 91018.5 | 12981.656 | 1.647 | 939380.7152 | 119.1503 | 3528.3435 | 0.80556 | 3394
Vermont | 1632.0625 | 1.0583 | 22.0473 | 54727.8925 | 35.4869 | 739.3113 | 1115.3012 | 1.0304 | 0 | 0 | 0 | 7795.7312 | 2.9487 | 589.74 | NA | NA | NA | 491.9948 | 0.062404 | 447268 | 203.2692 | 0.025782 | 43248.76 | 0 | 0 | 35616.7129 | 4.5176 | 1710.2744 | 0.39047 | 1207
Virginia | 27451.3781 | 15.6637 | 326.3279 | 1882467.2854 | 1074.1346 | 22377.8051 | 22266.9771 | 18.6693 | 0 | 0 | 0 | 4589.2453 | 1.7935 | 358.7 | 361053.9913 | 89.0735 | 17814.69 | 7866.232 | 0.99775 | 7151120 | 2498.4866 | 0.31691 | 531592.89 | 0 | 0 | 290736.6394 | 36.8768 | 3656.759 | 0.83488 | 2601
Washington | 33690.0939 | 19.3131 | 402.3569 | 1738150.7513 | 996.4096 | 20758.534 | 13599.1291 | 13.4936 | 161713.4295 | 58.5025 | 1778.4603 | 47249.7173 | 18.4785 | 3695.7 | 488025.1446 | 120.9638 | 24192.75 | 12311.7016 | 1.5616 | 11192456 | 1514.1297 | 0.19205 | 322155.26 | 2546.9668 | 0.3227 | 563023.6109 | 71.4134 | 27248.9325 | 6.2212 | 7310
West Virginia | 3023.8308 | 2.0087 | 41.8485 | 52693.7502 | 35.0044 | 729.2592 | 4220.1439 | 3.8103 | 0 | 0 | 0 | 4951.6272 | 1.8832 | 376.64 | NA | NA | NA | 2406.8627 | 0.30528 | 2188057 | 281.1137 | 0.035656 | 59811.43 | 0 | 0 | 261376.4994 | 33.1528 | 4408.4349 | 1.0065 | 1711
Wisconsin | 54938.9416 | 34.9298 | 727.7033 | 5042258.8898 | 3205.8298 | 66788.1209 | 13939.2147 | 12.2619 | 0 | 0 | 0 | 255266.2217 | 103.7571 | 20751.42 | 317754.9257 | 80.6718 | 16134.35 | 11221.584 | 1.4233 | 10201440 | 2072.9532 | 0.26293 | 441053.88 | 0 | 0 | 647173.2178 | 82.0869 | 2286.7588 | 1.4554 | 1863
Wyoming | 7232.4725 | 3.6044 | 75.0924 | 5727224.1285 | 2854.2671 | 59463.8975 | 1550.5251 | 1.17 | 5406407.0734 | 1955.8459 | 59457.2392 | 1653856.6966 | 552.0727 | 110414.54 | NA | NA | NA | 503.0278 | 0.063804 | 457298 | 50.1532 | 0.0063614 | 10670.9 | 1373 | 0.174 | 1070078.7656 | 135.7279 | 4445.2474 | 1.2892 | 2842
TOTAL | 2231693.7459 | 1217.6985 | 25368.7659 | 280613216.9032 | 152973.829 | 3186954.7714 | 818732.8113 | 664.8246 | 116146244.5865 | 38066.4007 | 1157209.3217 | 32784004.6556 | 10954.7588 | 2190951.7606 | 16975801.8704 | 4223.5142 | 844702.84 | 399774.0912 | 50.707 | 363430992 | 88551.4449 | 11.2318 | 18840732.95 | 301382.3803 | 38.2273 | 31344696.0239 | 3975.7352 | 258953.4902 | 60.3295 | 128126

## MPCbS
Electricity Source | Max Potential Capacity (MW)
hard coal | 9000000000000
natural gas nonpeaker | 9000000000000
nuclear | 9000000000000
hydro | 517
onshore wind | 1901529.9
solar PV | 20625551.6486
solar thermal | 7743420.2799
biomass | 2787.4229
geothermal | 384354.5114
petroleum | 9000000000000
natural gas peaker | 9000000000000
lignite | 9000000000000
offshore wind | 271443.45
crude oil | 9000000000000
heavy or residual fuel oil | 9000000000000
municipal solid waste | 1566.6543