## About
EoCtUH Efficiency of Conversion to Usable Heat
Source: | Usable Heat Efficiency
International Energy Agency
2014
CHP/DHC Country Scorecard: United States
http://www.iea.org/publications/insights/insightpublications/US_CountryScorecard_FINAL.pdf
Page 37, Table 2, Sub-table 4
Heat Pump Efficiency (Coefficient of Peformance)
European Heat Pump Association
2018
Large Scale Heat Pumps in Europe: 16 Examples of Realized Projects
https://www.ehpa.org/fileadmin/red/03._Media/03.02_Studies_and_reports/Large_heat_pumps_in_Europe_MDN_II_final4_small.pdf
Note:
Efficiencies are provided for CHP systems (and include usable heat and electricity).
We use these as a stand-in for the efficiencies of district heating systems
(about half of which are CHP systems), because we do not
have data specifically on efficiencies of district heating systems.
We don't have the efficiency of the total installed base, so we use
average the efficiencies of the available years' newly installed systems.
While this might be above-average (since many district heating systems
are very old), these systems do not have a "lifetime" and thus must
receive periodic upgrades and replacement parts, so some of them may
have efficiencies comparable to newer systems.

## Data
CHP overall efficiency (ratio)
2000 | 2006 | 2008 | 2009 | 2010 | 2011 | 2012
0.65 | 0.7 | 0.73 | 0.71 | 0.68 | 0.71 | 0.73
Average of the years above
0.70143
Heat Pumps
Project number | COP | Use
1 | 4.4 | district heating system
2 | 3.1 | district heating system
3 | 3.05 | district heating system
4 | 6.7 | paper factory
5 | 5.3 | district heating system
6 | 3.4 | district heating system
7 | 4.8 | university
8 | 6.8 | hospital
9 | 4.8 | concrete plant
10 | 4.9 | office building (ice storage)
11 | 5 | office building
12 | 4.4 | district heating system
13 | 3.4 | food processing
14 | 2 | district heating system
15 | 2.6 | university
16 | 4.5 | chipboard factory
Avgerage of all district heating system heat pumps | 3.6643
Heat generated by a heat pump is still lost in the distribution network, so the overall
efficiency of the heat pump systems is the COP multiplied by the efficiency ratio above.
Heat pump district heat final delivered efficiency | 2.5702

## Texas Notes
Not sure I agree with their assumption that CHP efficiency is a good proxy for district heating efficiency.
This is especially true in Texas where most of the district heating systems do not use CHP (see work on the BFoHfC spreadsheet)
Here is an industry booklet from Cleaver Brooks describing the efficiency of its natural gas boilers:
http://cleaverbrooks.com/reference-center/insights/Boiler%20Efficiency%20Guide.pdf
see Figure 1 page 7
a natural gas boiler ranges from 80-86% efficient depending on the flue gas temperature.
so, let's assume that district heating efficiency is
| 0.701 | for CHP systems (using the EPS numbers)
| 0.83 | for boiler systems (averaging 0.8 and 0.86)
then for Texas, which is about 1/3 CHP and 2/3 boilers
efficiency is on average
0.787

## EoCtUH
Efficiency (dimensionless) | Efficiency (dimensionless)
electricity | 2.8838
coal | 0.787
natural gas | 0.787
biomass | 0.787
petroleum diesel | 0.787
heat | 0.787
crude oil | 0.787
heavy or residual fuel oil | 0.787
LPG propane or butane | 0.787
hydrogen | 0.787