## About
TCAMRB Transmission Capacity Across Modeled Region Border
Sources: | Mexico-U.S. Interconnections
Transmission & Distribution World
2011
TransAmerica Interconnections
http://tdworld.com/overhead-transmission/transamerica-interconnections
Under "Existing U.S.-Mexico Interconnections" header
Mexico and Canada Imports and Exports
Energy Information Administration
2018
Electric Power Annual
http://www.eia.gov/electricity/annual/xls/epa_02_13.xlsx
Table 2.13

## Calculations
Mexico
Utility / Area | MW
Southern California Edison | 800
El Paso Electric Co | 200
American Electric Power Texas | 36
Laredo, TX | 100
Sharyland Utilities LP | 150
Total | 1286
I cannot find any source that explicitly provides the capacity of transmission lines
to/from Canada. The closest I can find is a diagram showing the voltage ratings
of the 37 main interconnections between the U.S. and Canada in kV.
(Canadian Electricity Association, "The Inegrated Electric Grid," p. 6)
http://www.electricity.ca/media/pdfs/CanadaUS/CEA_US%20Policy%20Paper_EN.pdf
Accordingly, we will assume that interconnection capacity is proportionate to total
imports and exports, and we will scale up Mexico's number propotionately to obtain
an estimate for Canada. We will use data from 2010-2012 because imports from Mexico
in 2013 appears to be an outlier and might be an error.
Imports + Exports to Mexico (2010-2012) | 5707778
Imports + Exports to Canada (2010-2012) | 197082568
Estimated Interconnection Capacity to Canada | 44404.0014 | MW

## EIA Table 2.13
Table 2.14. Electric Power Industry - U.S. Electricity Imports from and Electricity Exports to Canada
and Mexico, 2007-2017 (Megawatthours)
| Canada |  | Mexico |  | U.S. Total
Year | Imports from | Exports to | Imports from | Exports to | Imports | Exports
2007 | 50118056 | 19559417 | 1277646 | 584175 | 51395702 | 20143592
2008 | 55731229 | 23614158 | 1288152 | 584001 | 57019381 | 24198159
2009 | 50870451 | 17517112 | 1320144 | 620872 | 52190595 | 18137984
2010 | 43763091 | 18481678 | 1320095 | 624502 | 45083186 | 19106180
2011 | 51075952 | 14398470 | 1223758 | 650082 | 52299710 | 15048552
2012 | 57971110 | 11392267 | 1285959 | 603382 | 59257069 | 11995649
2013 | 62739038 | 10694907 | 6207597 | 678300 | 68946635 | 11373207
2014 | 59369660 | 12860889 | 7140624 | 437364 | 66510284 | 13298253
2015 | 68462277 | 8707873 | 7308192 | 392016 | 75770469 | 9099889
2016 | 65173818 | 2682381 | 7542445 | 3531636 | 72716263 | 6214017
2017 | 59909320 | 3312798 | 5775597 | 6058005 | 65684917 | 9370803
Sources: National Energy Board of Canada; DOE, Office of Electricity Delivery and Energy Reliability, Form OE-781R, 'Annual Report of International Electric Export/Import Data,' predecessor forms. To estimate electricity trade with Mexico, for 2001 forward data from the California Independent System Operator are used in combination with the Form OE-781R values.

## Texas Notes
We take the Texas numbers from their calculations tab:
Mexico
Utility / Area | MW
Southern California Edison | 800
El Paso Electric Co | 200
American Electric Power Texas | 36
Laredo, TX | 100
Sharyland Utilities LP | 150
Total | 286
Here's a 2016 ERCOT source that confirms the three ERCOT DC-ties
http://www.ercot.com/content/wcm/lists/161158/ERCOT_Fundamentals_Manual.pdf
Here's a 2018 report that adds a bit more detail
https://www.eba-net.org/assets/1/6/Colorado_FINAL.pdf
See figure 1: (copied from a 2016 source: Robert Mullin, Mexico’s Grid Operator to Explore Participation in EIM fig. 1, RTO INSIDER (Oct. 18, 2016), https://www.rtoinsider.com/mexico-cenace-caiso-eim-33082.
This source suggests that the El Paso connection is for emergency use only
so we will exclude it here.
Oklahoma
Oklaunion | 220 | https://new.abb.com/systems/hvdc/references/oklaunion
file:///C:/Users/tdeet/Downloads/ERCOT-SPP%20Coordination%20Plan%20(1).pdf
Arkansas
Monticello | 600 | file:///C:/Users/tdeet/Downloads/ERCOT-SPP%20Coordination%20Plan%20(1).pdf
Grand Total | 1106

## TCAMRB
Transmission Capacity Across Modeled Region Border (MW)
MW | 1106